Route this form to:

See Distribution Instructions in Section 1.

U Wide Form:

UM1738

Rev:  6-23-26

# Fire Protection Impairment Notice

## Impairment Definition:

An impairment is defined as any planned or unplanned shutdown of a fire protection system.  This can include a closed sprinkler valve, an obstruction in the city water supply to the building, a non-operating fire pump or controller, an isolated gaseous suppression system, a dry/pre-action valve that won’t trip, etc. Note that the duration of the impairment does not matter – Impairments must be reported any time a system is impaired, 

Instructions:

## Complete Sections 1 – 3 before impairment begins.  Distribute as indicated in Section 1.

## Complete Section 4 upon restoration of system.  Forward completed notice stlo.custserv@fmglobal.com

## 1.  IMPAIRMENT NOTICE DISTRIBUTIONS

| Name | Telephone | Fax | E-mail |
| --- | --- | --- | --- |
| FM Global Service Desk | 800-320-6760 | 800-320-6762 | stlo.custserv@fmglobal.com |
| PSECC – Twin Cities Campus | 612-624-7828 |  | jdlessar@umn.edu carterr@umn.edu span0009@umn.edu |
| Building Code Office | 612-625-3318 |  | will8346@umn.edu |
| Local Fire Department – Outstate Campus Locations |  |  |  |

2.  FACILITY INFORMATION

| Campus Location Minneapolis Rochester | St. Paul Crookston |  | Duluth Morris Other |  |
| --- | --- | --- | --- | --- |
| Building Name: |  | Building Number |  | College/School/Department: |

3.  IMPAIRMENT INFORMATION

| Start Date: Start Time AM PM | Planned Completion Date: Planned Completion Time: AM PM |  |
| --- | --- | --- |
| Type of Impairment: Planned Emergency Equipment Tagged? Yes No |  |  |
| Area(s) of Impairment: |  |  |
| Reason for Impairment: |  |  |
| Precautions Taken: Continuous Work Authorized Hazardous Operations Ceased Fire Department Notified Fire Extinguishers/Hoses Available Lockout/Tagout Implemented Hot Work Prohibited Ongoing Patrol of Area Emergency Organization Notified Other, specify: |  | Type of Equipment Impaired: Sprinkler System Fire Pump Fire Water Tank Gaseous Protection System Fire Alarm/Detection System Other Fixed Protection System Public Water Supply Smoke Detection Other, specify: |
| Person Responsible for this Impairment: Phone: E-mail: |  |  |
| Impairment Coordinator Name: |  |  |

4.  IMPAIRMENT RESTORATION

| System Restored Date: Time AM PM | Restoration Notification by: |
| --- | --- |
| Alarm System Normal Main Drain Test Conducted – Static Pressure PSI Valve(s) Re-opened, Sealed/Locked and/or Tamper Switch Tested – Residual Pressure PSI |  |
| After impairment is restored, forward completed notice to stlo.custserv@fmglobal.com |  |

The University of Minnesota is an equal opportunity educator & employer.

2000 by the Regents of the University of Minnesota.

Page 1 of 1